| Test Form | Specimen Type | Volume | Notes/Comments | Source |
| --- | --- | --- | --- | --- |
| Rare Disease |  |  |  |  |
| GLH Rare Disease Genetic Testing Form |  |  |  |  |
|  | EDTA Blood | 2-5ml | Molecular genetic analysis 2-5ml adults/children 1-2ml neonates | 411.027 V3.0 |
|  | Heparin Blood | 2-5ml | Cytogenetic analysis |  |
|  | Skin |  | In transport medium |  |
|  | DNA | 3ug | Minimum concentration 50ug/ul |  |
| GLH Prenatal Form (Feto-maternal) |  |  |  |  |
|  | Maternal Sample for MCC | N/A | In EDTA | 411.030 V2.0 |
|  | Chorionic Villus | 10-30mg | In transport medium |  |
|  | Amniotic Fluid | 10-20ml | In universal container |  |
|  | Fetal Blood | 1-2ml | In EDTA |  |
|  | Maternal Blood for NIPD | 20ml | In Streck Tube |  |
|  | Pregnancy loss samples | N/A |  |  |
| Prenatal Genetic Testing for Haemoglobinopathies Referral Form |  |  |  |  |
|  | Chorionic Villus | 10-30mg | In transport medium |  |
|  | Amniotic Fluid | 10-20ml | In universal container |  |
| Genetic testing for Haemoglobinopathies Referral Form |  |  |  |  |
|  | Venous Blood | 4ml | EDTA tube. | 400.012 V2.0 |
|  |  |  | Lithium Heparin or Serum tubes are unsuitable for testing. Forward the completed referral form and EDTA blood sample to your local Genetics Laboratory |  |
|  |  |  | Red cell indices and HPLC/IEF results must be supplied before the sample can be processed. |  |
| Cancer |  |  |  |  |
| RNA Fusion Panel Request Form (Incorporating NTRK Fusion Testing) |  |  |  |  |
|  | FFPE curls | 5 x 10μM FFPE curls | Preferred | 411.029 V2 |
|  | FFPE sections | 10 x 5 μM FFPE sections | With labelled H&E slide for macro dissection |  |
|  | Fresh Frozen Tumour Tissue on DRY ICE | Minimum 1mm tissue | on DRY ICE |  |
|  | Fresh Frozen Tissue Stored in RNA-later buffer | Minimum 1mm tissue | Do not freeze in RNA-later buffer - store/ transport at 4C |  |
| GLH DPYD Referral Form |  |  |  |  |
|  | Blood | 2.5mL tube | In EDTA | 411.028 V2.0 |
| tBRCA and HRD Request Form (Tumour HRD status and BRCA1&2 genomic testing) |  |  |  |  |
|  | Thick sections air dried on mounted slide with a corresponding marked H&E slide with regions of >30% neoplastic cells highlighted. Sections should be cut under conditions that prevent cross contamination from other samples. FFPE curls NOT accepted | 10 x 5 μM | Cytology samples can be accepted for HRD and tumour BRCA testing. It is essential that cells and tissue fragments from the cytology samples are processed into agar/cell blocks, formalin-fixed and paraffin embedded. They should then undergo a Pathology assessment process as per tissue samples | 411.032 V1.0 |
| Haematological Disorders Referral Card |  |  |  |  |
|  | Peripheral Blood (lithium heparin) | 5~10ml |  | LGSR008 V1.4 |
|  | Bone Marrow Aspirate | 1ml marrow added to tranpsort medium | Transport medum tube provided by lab ((RPMI transport medium (10ml) + heparin) |  |
| Solid Tumour Specialist Diagnostic Services Referral Card |  |  |  |  |
|  | FFPE curls - DNA or RNA only | 5-10 x 10μm curls | If tumour sample >20%. Double total if DNA & RNA required | HPQA Form 62803 Dec 2021 K.Rankeillor |
|  | FFPE sections - DNA or RNA only | 10 x 5μm sections with marked H & E | If tumour sample <20%. Double total if DNA & RNA required |  |
|  | FFPE sections - FISH | 2-3 x 4μm FFPE sections on 'APES' or 'sticky' slides per test required with marked H&E slide |  |  |
|  | Fresh | Minimum 5mm3 | Fresh frozen tumour in dry ice or if refrigerated in stabilisation buffer (eg ‘RNA later’ or RLT buffer) |  |
| Circulating Lung Tumour Referral Card |  |  |  |  |
|  | Peripheral Blood | 2~10ml EDTA tube OR STRECK tube (fill with blood): | For Detection of EGFR Mutations Exons 19-20 in circulating tumour Liase with Molecular Oncology 0113 206 4570 when a blood sample is taken to confirm transport arrangements. If using EDTA tube, sample must arrive at lab within 4 hours of sampling If using STRECK tube, tube must be completely filled where possible and then inverted ten times to mix well. | LGSR009 V1.2 |