**Alternative locations of Blood Gas Analysers - LGI**

|  |  |  |
| --- | --- | --- |
| **Department** | **Wing/Floor** | **Parameters** |
| **A&E (x2)**  **(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  B Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **Vascular X-ray**  **(250 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  B Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **Theatres (x2)**  **(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L02**  **(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L03**  **(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L04**  **(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L05**  **(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L06**  **(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L07**  **(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L14 (Cath Labs)**  **(250 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  E Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L20**  **(250 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  F Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L25**  **(250 Test Measurement and Wash/Waste Cartridges)** | Jubilee wing  G Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L37**  **(250 Test Measurement and Wash/Waste Cartridges)** | Clarendon Wing  B Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |
| **Paediatric Theatres**  **(750 Test Measurement and Wash/Waste Cartridges)** | Clarendon Wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |
| **L43 (Neonatal)**  **(750 Test Measurement and Wash/Waste Cartridges)** | Clarendon wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |
| **L45 (Delivery Suite)**  **(1200 Wash and Reagent Cartridges)** | Clarendon wing  C Floor | pH pO2 pCO2 |
| **L45 (Delivery Suite Theatres)**  **(250 Test Measurement and Wash/Waste Cartridges)** | Clarendon wing  C Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L47 (x2)**  **(750 Test Measurement and Wash/Waste Cartridges)** | Clarendon wing  D Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |
| **Moynihan Theatres**  **(750 Test Measurement and Wash/Waste Cartridges)** | Clarendon wing  D Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |