**Alternative locations of Blood Gas Analysers - LGI**

|  |  |  |
| --- | --- | --- |
| **Department** | **Wing/Floor** | **Parameters** |
| **A&E (x2)****(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingB Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **Vascular X-ray****(250 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingB Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **Theatres (x2)****(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L02****(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L03****(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L04****(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L05****(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L06****(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L07****(750 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L14 (Cath Labs)****(250 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingE Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L20****(250 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingF Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L25****(250 Test Measurement and Wash/Waste Cartridges)** | Jubilee wingG Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L37****(250 Test Measurement and Wash/Waste Cartridges)** | Clarendon WingB Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |
| **Paediatric Theatres****(750 Test Measurement and Wash/Waste Cartridges)** | Clarendon WingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |
| **L43 (Neonatal)****(750 Test Measurement and Wash/Waste Cartridges)** | Clarendon wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |
| **L45 (Delivery Suite)****(1200 Wash and Reagent Cartridges)** | Clarendon wingC Floor | pH pO2 pCO2 |
| **L45 (Delivery Suite Theatres)****(250 Test Measurement and Wash/Waste Cartridges)** | Clarendon wingC Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb |
| **L47 (x2)****(750 Test Measurement and Wash/Waste Cartridges)** | Clarendon wingD Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |
| **Moynihan Theatres****(750 Test Measurement and Wash/Waste Cartridges)** | Clarendon wingD Floor | pH pO2 pCO2 Glu Lac K+ Ca++ Cl- Na+ tHb nBili |